Unit R074 – How scientists use analytical techniques to collect data

Light Microscope Card Sort

Activity 1

Cut out these boxes and match up the correct part of the microscope with its function.

| Eyepiece lens | Contains the lens |
| --- | --- |
| Fine adjustment knob | Moves the stage slightly to sharpen the image |
| Diaphragm | Change the amount of light reaching the specimen |
| Stage | The surface that supports the slide whist it is being viewed |
| Light source | Projects light towards the specimen |
| Base | Supports the microscope |
| Stage clips | Hold the slide in place on the stage |
| Coarse adjustment knob | Moves the stage up and down for focusing |
| Nosepiece | Holds the lenses and can be rotated to change the magnification |
| Objective lenses | Magnify the specimen |