Using a light microscope to study mitosis							              STUDENT

Introduction

In this activity you will be examining the main stages of mitosis in Allium sp. You will also be gaining experience of observing and drawing annotated scientific diagrams from the microscope and will use a calibrated graticule to carry out a measuring activity of the chromosomes observed. You are expected to know how to use a light microscope and to have carried out some observing activities prior to this activity.

Aim

To use a light microscope to observe and identify the stages of mitosis including calibrating and using an eyepiece graticule and making annotated scientific drawings showing cells in different stages of mitosis.

Intended class time

- 1 hour

Chemicals

Not applicable for this activity.

Equipment

- Light microscope with low power and high power objective lenses e.g. x 4, x10 and x40

- Eyepiece graticule

- Stage micrometer

- Permanent slides showing TS of an Allium sp. root tip.

Health and Safety

- The microscope is heavy and delicate. Carry it carefully if you need to move it, holding it by the arm and supporting it beneath the base.

- You need to be sure to move the microscope stage up so the lens is almost touching the microscope slide while not looking down the microscope and then to focus DOWN. This will avoid broken cover slips and slides.

Procedure

Note: This activity allows you to develop your skills of the calibrating and use of a graticule by asking you to measure the length of chromosomes.

Calibration method

Note: In order for correct symbol (µm) to be used and to take into consideration small differences between microscopes, the graticule must be calibrated prior to the activity being carried out. The technique for the calibration of the graticule is as follows:

- Use a stage micrometer. This is a microscope slide with an accurate scale etched on it. In the example below, 1 mm is divided into 10 parts. So on this stage micrometer, each small division is equal to 0.1 mm, which is 100 micrometres (µm).

- Insert the graticule into the eyepiece lens and line up the two scales similar to the diagram below.

- It is then possible to count the number of divisions on the eyepiece graticule equivalent to each division on the stage micrometer and hence calculate the length that one eyepiece division is equivalent to.

- For the example below, three divisions (shown in red) are equal to 100 µm, so each division is equal to 33.3 µm. This might be, for example, at low power.

- The process should be repeated with each objective lens and you will then have a calibration factor for each lens. You are now ready to examine the prepared slide.

Observing the specimen

- Place the slide showing the stages of mitosis on the microscope stage.

- Without putting your eye to microscope but looking at the slide itself, twist the focusing dial until the microscope stage has moved up so that the slide is just about to touch the lens.

- Then use the coarse focusing dial to focus DOWN until you can clearly see the cells in the field of view. Make sure the cells are in the centre of the field of view (the circle of light you can see when looking down the microscope).

- Rotate to the medium power lens and again focus until you can see the cells and the chromosomes in them clearly.

- Then rotate to the high power lens and use the fine focusing dial only to bring the chromosomes into distinct view.

- Take time to look carefully and identify each stage of mitosis that can be seen.

- The eyepiece graticule can be used to measure the length of the chromosomes. Aim to do this carefully for three separate chromosomes depending on the actual slide being used.

- Make scientific annotated drawings of the stages of mitosis that you have seen and identified. It should be possible from your drawings to know which stage has been drawn. An example of a labelled scientific drawing is shown below.

Extension questions

- What is the purpose of mitosis for a living organism?

- What is a key distinguishing visible feature of each stage of mitosis?

- Once active cell division ends, the cells will enter interphase. Explain why it is incorrect to say that these cells are “resting”.

- Why is a sample from the roots of Allium sp. a good specimen for studying mitosis?

- State which stage of the cell cycle the majority of the cells in your specimen were in and suggest why.

What to record

As evidence for the Practical Endorsement, you should keep annotated drawings of cells in the main stages of mitosis and measurements of three chromosomes as described above. All work should be clearly dated.

In addition you should have considered the above questions as the answers to these questions will aid you in preparation for your written examinations.